{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["2023-12-13"],"not_rendered":{"external_links":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"2023-12-13","index":0,"n_rows":4,"n_cols":24,"rows_kept":4,"merged":[[0,0,1,23]],"flags":["formulas_cached_only"]}
["第一类医疗器械备案"]
[]
["序号","备案号","备案人名称","社会信用代码","备案人组织机构代码","备案人注册地址","生产地址","代理人","代理人注册地址","产品名称","型号/规格（包装规格）","产品有效期","结构特征","产品描述","预期用途","备注","变更情况","备案部门","变更日期","产品技术要求","其他内容","证书状态","备案日期","企业注册地"]
[1,"粤揭械备20230010","广东鸽子医疗器械有限公司","91445281617607013F","","普宁市池尾竹园6幢118号；普宁市普侨镇石南工业区8号（一照多址）","普宁市普侨镇石南工业区8号","/","/","吸引贮液瓶","NPB-102、NPB-103","","无源","由器身、连接管和连接接头组成。非无菌提供，不包括负压泵、手动负压源(负压球)和插入体内的引流导管。","用于临床负压引流时，与插入体内的引流导管相连接，起到充当负压传导介质和/或引导、收集引流液的作用。","","","揭阳市市场监督管理局","","/","/","正常","2023-11-02","揭阳普宁市"]