{"text_format":"3","workbook":"xls","n_sheets":11,"sheets":["JMENBS","初中物理","初中化学","初中生物","初中数学","初中地理","高中物理","高中化学","高中生物","高中数学","高中地理"],"not_rendered":{"external_links":1,"defined_names":9},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"JMENBS","index":0,"n_rows":7,"n_cols":1,"rows_kept":7,"hidden":true,"flags":["formulas_cached_only"]}
[]
[false]
[{"$error":"#N/A"}]
[false]
[false]
[false]
[false]

{"sheet":"初中物理","index":1,"n_rows":165,"n_cols":5,"rows_kept":165,"merged":[[0,0,0,1],[1,0,1,4],[163,0,163,2],[164,0,164,4]],"flags":["formulas_cached_only"]}
["附件1"]
["1、初中物理常规教学仪器欠缺调查表"]
["编号","名称","规格 型号 功能","单位","欠缺数量"]
["02001","钢制黑板","900mm×600mm，双面","块"]
["02011","直联泵","单相","台"]
["02014","抽气筒","教学用","个"]
["02015","打气筒","教学用","个"]
["02016","抽气盘","直径不小于180mm，附罩","套"]
["02020","仪器车","不锈钢","辆"]
["02023","充磁器","教学用","台"]
["02115","透明盛液筒","φ100mm×300mm","个"]
["02123","实验用品提蓝","教育标准","个"]
["03001","物理支架","教育标准","套"]
["03002","方座支架","镀铬","套"]
["03004","升降台","不锈钢   升降范围不小于150mm，载重量不小于10kg","台"]
["04001","学生电源","DY-CX-WY-9/1.5A型,            直流1.5～9V/1.5A，每1.5V一档","台"]
["04004","教学电源","DY-CJ-WY-12/2型,           交流：2～12V/5A，每2V一档；                         直流：1.5～12V/2A，分为1.5V、3V、4.5V、6V、9V、12V，共六档；40A、8s自动关断","台"]
["04010","电池盒","1号电池4节,可串并联","套"]
["10001","演示直尺","1000mm","只"]
["10002","木直尺","1000mm","只"]
["10004","钢直尺","200mm","只"]
["10005","钢卷尺","2000mm","盒"]
[10006,"软尺","1500mm","把"]
["10009","布卷尺","30m","盒"]
["10010","游标卡尺","125mm，0.05mm或0.02mm","把"]
["10011","外径千分尺(螺旋测微器)","25mm，0.01mm","只"]
["10015","测微尺","显微镜用","个"]
["11001","物理天平","500g","台"]
["11003","托盘天平","100g，0.1g","台"]
["11004","托盘天平","200g，0.2g","台"]
["11005","托盘天平","500g，0.5g","台"]
["11021","金属钩码","10g×1，20g×2，50g×2，     200g×2","套"]
["12001","机械停表","0.1s","块"]
["13001","温度计","红液，0～100℃","支"]
["13003","温度计","水银，0～200℃","支"]
["13004","演示温度计","教学用","只"]
["14002","条形盒测力计","5N","个"]
["14003","条形盒测力计","2.5N","个"]
["14004","条形盒测力计","1N，分度值0.01N","个"]
["14005","圆筒测力计","5N","个"]
["14006","圆筒测力计","1N，分度值0.02N","个"]
["14008","平板测力计","5N","个"]
["14011","演示测力计","0～2N","个"]
["15001","演示电表","直流电压、电流，检流；2.5级","只"]
["15007","绝缘电阻表","500V","只"]
["15008","直流电流表","2.5级，0.6A，3A","只"]
["15009","直流电压表","2.5级，3V，15V","只"]
["15010","灵敏电流计","±300μA","只"]
["15011","多用电表","不低于模拟式电表的交流5级,直流2.5级","只"]
["15012","投影电流表","2.5级，0.6A，3A","只"]
["15013","投影电压表","2.5级，3V，15V","只"]
["15014","投影检流计","±300μA","只"]
["15020","教学示波器","2MHz","台"]
["16008","空盒气压计","多膜盒","台"]
["21001","圆柱体组","铜，铁，铝","套"]
["21002","立方体组","铜，铁，铝， 木材，不小于60cm3","套"]
["21003","运动和力实验器","长、短斜面，小车，小球，硬盒，毛巾，布","套"]
["21004","惯性演示器","教学用","套"]
["21005","摩擦计","教学用","套"]
["21007","阿基米德原理实验器","教学用","套"]
["21017","液体对器壁压强演示器","教学用","台"]
["21019","马德堡半球","教学用","套"]
["21021","压力和压强演示器","教学用","盒"]
["21030","杠杆","教学用","套"]
["21031","演示滑轮组","单2，三并2，三串2，可卡2","组"]
["21032","滑轮组","单4，二并2，二串2，可卡2","组"]
["21033","滚摆","教学用","个"]
["21036","初中力学演示板","教学用","套"]
["21037","飞机升力原理演示器","教学用","套"]
["21038","手摇离心转台","教学标准","台"]
[22001,"音叉","256Hz","支"]
[22002,"音叉","512Hz","支"]
[22003,"发音齿轮","教学标准","个"]
["22004","单摆","1个摆球","组"]
["22007","声传播演示器","教学标准","套"]
["22202","内聚力演示器","有挤压扳动器和刮削器","套"]
["22203","空气压缩引火仪","教学标准","个"]
["22210","气体做功内能减少演示器","用热敏电阻演示","套"]
["22213","纸盘扬声器","直径不小于200mm，8Ω","台"]
["23001","玻棒(附丝绸)","或有机玻棒(附丝绸)教师用","对"]
[23003,"胶棒(附毛皮)","或聚碳酸酯棒(附毛皮)教师用","对"]
[23005,"箔片验电器","教师用","对"]
["23006","箔片验电器","学生用","对"]
[23007,"指针验电器","教学用","对"]
["23010","小灯座","教学标准","个"]
["23011","单刀开关","教学标准","个"]
["23012","滑动变阻器","20Ω，2A；或10Ω，2A；","个"]
["23013","滑动变阻器","50Ω，1.5A","个"]
["23014","滑动变阻器","5Ω，3A","个"]
["23018","电阻圈","5Ω，10Ω，15Ω","组"]
["23019","电阻定律演示器","教学标准","个"]
["23020","电阻定律实验器","教学标准","个"]
["23021","演示电阻箱","教学标准","个"]
["23022","教学电阻箱","9999.9Ω","个"]
["23030","演示线路实验板","初中演示组","套"]
["23037","保险丝作用演示器","教学标准","套"]
["24001","条形磁铁","D-CG-LT-180","对"]
["24002","蹄形磁铁","D-CG-LU-80","个"]
["24003","磁感线演示器","条形、蹄形","套"]
["24004","立体磁感线演示器","永磁、电磁场","套"]
["24005","磁感线演示板","可投影","套"]
["24006","电流磁场演示器","教学标准","套"]
["24007","菱形小磁针","16个","套"]
["24008","翼形磁针","教学用","对"]
["24009","演示原副线圈","教学用","套"]
["24010","原副线圈","教学用","套"]
["24011","蹄形电磁铁","密绕细线，稀绕粗线","组"]
["24013","电铃","立式","个"]
["24016","磁场对电流作用实验器","教育标准","套"]
["24017","左右手定则演示器","教育标准","个"]
["24018","小型电动机实验器","教育标准","套"]
["24019","手摇交直流发电机","教育标准","个"]
["24024","能的转化演示器","机械能、化学能、电能、热能、光能的转化","套"]
[25001,"光具盘","磁吸附式","套"]
["25002","凹面镜","教育标准","个"]
["25003","凸面镜","教育标准","个"]
["25004","玻璃砖","教育标准","块"]
["25005","光具座","教育标准","套"]
["25007","三棱镜","教育标准","个"]
["25008","白光的色散与合成演示器","教育标准","套"]
["25010","平面镜成像实验器","教育标准","套"]
["25011","光的传播、反射、折射实验器","教育标准","套"]
["25013","光的三原色合成实验器","教育标准","件"]
["51001～51014","初中物理教学挂图","对开,65幅","套"]
[60001,"量筒","10ml","个"]
[60002,"量筒","50ml","个"]
[60003,"量筒","100ml","个"]
[60012,"量杯","250ml","个"]
[61002,"试管","15*150mm","支"]
[61003,"试管","20*20mm","支"]
[61023,"烧杯","250ml","个"]
[61024,"烧杯","500ml","个"]
[61034,"烧杯","圆，长，500ml","个"]
[61037,"烧瓶","平，长，500ml","个"]
[62001,"酒精灯","150ml ","个"]
[62070,"平底管","12*150mm","支"]
[62032,"漏斗","90mm","个"]
[62071,"T型管"," ","个"]
[62096,"可密封长玻璃管","10*800mm，带胶塞、刻度","支"]
[64005,"镊子",null,"支"]
[64032,"石棉网"," ","个"]
[64063,"乳胶管"," ","米"]
[64088,"蒸发皿","瓷，60mm","个"]
["80104","新材料样品","纳米材料、超导材料、形状记忆合金、单晶和多晶、光导纤维、隐形材料等","份"]
["80105","家庭电路器材","空气开关、漏电保护器、螺丝口灯座、卡口灯座、三孔插座、三孔插头、插入式保险盒、拉线开关、按钮开关、声控开关、光控开关、导线等","份"]
["80107","彩色透光片","红、绿、蓝","套"]
["80108","颜料的三原色","品红、黄、蓝","适量"]
[null,"物质科学(B)实验材料","黄铜片、火柴、蜡烛、炭棒、木板、砂纸等等","份"]
["81002","测电笔","教学用","支"]
["81003","一字螺丝刀","教学用","支"]
["81004","十字螺丝刀","教学用","支"]
["81005","尖咀钳","教学用","个"]
["81006","电工刀","教学用","个"]
[null,"切纸刀","教学用","台"]
["82001","工作服","教学用","件"]
["82002","护目镜","用于实验教师防强光、眩光、紫外线、激光，或是机械性伤害(机加工)。","个"]
["82006","手套","线","双"]
["82010","简易急救箱","简易急救箱","件"]
[]
[]
[]
[]
[]
["合  计"]
["填表说明：1、为汇总统计方便，本表项目顺序和格式不能变动；2、需要的仪器设备本表没有的可自行在表后填报。"]

{"sheet":"初中化学","index":2,"n_rows":266,"n_cols":5,"rows_kept":266,"merged":[[0,0,0,4],[264,0,264,2],[265,0,265,4]],"flags":["formulas_cached_only"]}
["2、初中化学常规教学仪器欠缺调查表"]
["编号","名称","规格 型号 功能","单位","欠缺数量"]
["02001","钢制黑板","900mm×600mm，双面","块"]
["02002","打孔器","四件","套"]
["02003","打孔夹板","教学用","个"]
["02004","打孔器刮刀","教学用","个"]
["02005","手摇钻孔器","教学用","台"]
["02020","仪器车","不锈钢","辆"]
["02071","离心沉淀器","手摇式","台"]
["02072","搅拌器","教学用","台"]
["02075","酒精喷灯","坐式","个"]
["02076","电炉","密封式","个"]
["02077","电加热器","密封式","个"]
["02081","蒸馏水器","5L,紫铜","台"]
["02082","恒温水浴锅","不锈钢,单孔","个"]
["02083","列管式烘干器","教学用","台"]
["02084","烘干箱","教学用","台"]
["02116","透明水槽(圆形或方形)","φ270mm×140mm，塑料或玻璃制品                        ","个"]
["02119","整理箱","矮型，储存及分发药品用","个"]
["02121","塑料洗瓶","250mL","个"]
["02122","试剂瓶托盘","教育标准","个"]
["02123","实验用品提蓝","教育标准","个"]
["02124","塑料水槽","250mm×180mm×100mm","个"]
["03002","方座支架","镀铬","套"]
["03005","万能夹","教学用","个"]
["03006","三脚架","教学用","个"]
["03007","泥三角","教学用","个"]
["03008","试管架","教学用","个"]
["03009","漏斗架","教学用","个"]
["03010","滴定台","教学用","个"]
["03011","滴定夹","教学用","个"]
["03012","多用滴管架","教学用","个"]
["11003","托盘天平","100g，0.1g","台"]
["11004","托盘天平","200g，0.2g","台"]
["11005","托盘天平","500g，0.5g","台"]
["13001","温度计","红液，0～100℃","支"]
["13003","温度计","水银，0～200℃","支"]
["16001","密度计","密度＞1","支"]
["16002","密度计","密度＜1","支"]
["26001","水电解演示器","30mL,铂电级","台"]
["26002","水电解实验器","教学用","台"]
["26003","原电池实验器","教学用","个"]
["26006","贮气瓶","教学用","台"]
["26009","分子间隔实验器","教学用","件"]
["26010","溶液导电演示器","教学用","台"]
[32003,"分子结构模型","初中用","套"]
["32007","氯化钠晶体结构模型","演示用","套"]
["32008","碳的同素异形体结构模型","包括金刚石、石墨、碳-60三种结构模型；小型，球管式，可拆卸。","套"]
["42001","金属矿物、金属及合金标本","各类不少于5种","盒"]
["42002","原油常见馏分标本","不少于8种","盒"]
["42003","合成有机高分子材料标本","不少于10种","盒"]
["52001～52005","初中化学教学挂图","对开,44幅","套"]
[52041,"元素周期表","带轴","件"]
[null,"初中化学玻璃仪器","111种,3590件(见60001-64095）"]
[60001,"量筒","10mL","个"]
[60002,"量筒","50mL","个"]
[60003,"量筒","100mL","个"]
[60004,"量筒","500mL","个"]
[60012,"量杯","250mL","个"]
[60023,"容量瓶","250mL","个"]
[60024,"容量瓶","500mL","个"]
[60041,"滴定管","酸式，25mL","支"]
[60043,"滴定管","碱式，25mL","支"]
[61001,"试管","φ12mm×70mm","支"]
[61002,"试管","φ15mm×150mm","支"]
[61003,"试管","φ18mm×180mm","支"]
[61005,"试管","φ20mm×200mm","支"]
[61006,"试管","φ30mm×200mm","支"]
[61007,"试管","φ32mm×200mm","支"]
[61008,"具支试管","φ20mm×200mm","支"]
[61009,"硬质玻璃管","φ15mm×150mm","支"]
[61010,"硬质玻璃管","φ20mm×250mm","支"]
[61020,"烧杯","25mL","个"]
[61021,"烧杯","50mL","个"]
[61022,"烧杯","100mL","个"]
[61023,"烧杯","250mL","个"]
[61024,"烧杯","500mL","个"]
[61025,"烧杯","1000mL","个"]
[61033,"烧瓶","圆、长，250mL","个"]
[61034,"烧瓶","圆、长，500mL","个"]
[61037,"烧瓶","平、长，250mL","个"]
[61041,"锥形瓶","100mL","个"]
[61042,"锥形瓶","250mL","个"]
[61051,"蒸馏烧瓶","250mL","个"]
[62001,"酒精灯","150mL","个"]
[62004,"抽滤瓶","500mL","个"]
[62005,"抽气管","教学用","个"]
[62006,"干燥器","160mm","个"]
[62007,"气体发生器","250mL","个"]
[62021,"冷凝器","直固，300mm","支"]
[62023,"牛角管","弯形，φ18mm×150mm","支"]
[62031,"漏斗","60mm","个"]
[62032,"漏斗","90mm","个"]
[62033,"安全漏斗","直形","个"]
[62034,"安全漏斗","双球","个"]
[62035,"分液漏斗","锥形，100mL","个"]
[62036,"分液漏斗","梨形，50mL","个"]
[62039,"布氏漏斗","瓷，80mm","个"]
[62070,"平底管","φ12mm×150mm","支"]
[62071,"T形管","教学用","个"]
[62072,"Y形管","教学用","个"]
[62073,"滴管","教学用","支"]
[62075,"干燥管","单球，150mm","支"]
[62076,"干燥管","U型，φ15mm×150mm","支"]
[62079,"活塞","直形","支"]
[62091,"圆水槽","φ200mm×100mm","个"]
[62092,"圆水槽","φ270mm×140mm","个"]
[62093,"玻璃钟罩","φ150mm×280mm","个"]
[63002,"集气瓶","125mL","个"]
[63003,"集气瓶","250mL","个"]
[63011,"广口瓶","60mL","个"]
[63012,"广口瓶","125mL","个"]
[63013,"广口瓶","250mL","个"]
[63014,"广口瓶","500mL","个"]
[63015,"广口瓶","茶，60mL","个"]
[63016,"广口瓶","茶，125mL","个"]
[63017,"广口瓶","茶，250mL","个"]
[63021,"细口瓶","60mL","个"]
[63022,"细口瓶","125mL","个"]
[63023,"细口瓶","250mL","个"]
[63024,"细口瓶","500mL","个"]
[63025,"细口瓶","1000mL","个"]
[63026,"细口瓶","3000mL","个"]
[63027,"细口瓶","茶，60mL","个"]
[63028,"细口瓶","茶，125mL","个"]
[63029,"细口瓶","茶，250mL","个"]
[63030,"细口瓶","茶，500mL","个"]
[63031,"细口瓶","茶，1000mL","个"]
[63041,"滴瓶","30mL","个"]
[63042,"滴瓶","60mL","个"]
[63043,"滴瓶","茶，30mL","个"]
[63044,"滴瓶","茶，60mL","个"]
[64001,"坩埚","瓷，30mL","个"]
[64002,"坩埚钳","200mm","个"]
[64003,"烧杯夹","教学用","个"]
[64005,"镊子","教学用","个"]
[64006,"试管夹","教学用","个"]
[64007,"水止皮管夹","教学用","个"]
[64008,"螺旋皮管夹","教学用","个"]
[64032,"石棉网","125mm×125mm","个"]
[64041,"燃烧匙","教学用","个"]
[64042,"药匙","教学用","个"]
[64051,"玻璃管","φ5～φ6mm","千克"]
[64052,"玻璃管","φ7～φ8mm","千克"]
[64053,"玻璃棒","φ3～φ4mm","千克"]
[64054,"玻璃棒","φ5～φ6mm","千克"]
[64061,"软胶塞","教学用","千克"]
[64062,"橡胶管","教学用","千克"]
[64063,"乳胶管","教学用","米"]
[64071,"试管刷","教学用","个"]
[64072,"烧瓶刷","教学用","个"]
[64080,"结晶皿","80mm","个"]
[64081,"表面皿","60mm","个"]
[64082,"表面皿","100mm","个"]
[64084,"培养皿","60mm","个"]
[64085,"培养皿","100mm","个"]
[64086,"研钵","瓷，60mm","个"]
[64087,"研钵","瓷，90mm","个"]
[64088,"蒸发皿","瓷，60mm","个"]
[64089,"蒸发皿","瓷，100mm","个"]
[64090,"燃烧皿","教学用","个"]
[64091,"反应板","至少6穴","个"]
[64092,"井穴板","9孔，0.7mL×9","个"]
[64094,"塑料多用滴管","4mL","支"]
[64095,"棉纱缸","教学用","个"]
[null,"初中化学试剂","一类79个品种"]
["70001","铝片","","克"]
["70002","铝箔","","克"]
["70003","铝丝","","克"]
["70004","锌粒","工业","克"]
["70005","还原铁粉","试剂","克"]
["70006","铁丝","","克"]
["70008","锡粒","","克"]
["70009","铅粒","","克"]
["70010","紫铜片","","克"]
["70011","铜丝","","克"]
["70021","碘","试剂","克"]
["70022","活性炭","","克"]
["70032","二氧化锰","试剂","克"]
["70033","三氧化二铁","试剂","克"]
["70034","氧化铜","工业","克"]
["70041","氯化钾","试剂","克"]
["70042","氯化钠","试剂","克"]
["70043","氯化钠","工业","克"]
["70044","氯化钙","试剂","克"]
["70045","无水氯化钙","工业","克"]
["70046","氯化镁","试剂","克"]
["70047","三氯化铁","试剂","克"]
["70049","氯化铵","工业","克"]
["70065","碘化钾","试剂","克"]
["70070","硫酸钾","试剂","克"]
["70083","硫酸铝","试剂","克"]
["70086","硫酸铜(蓝矾、胆矾)","工业","克"]
["70087","硫酸铵","工业","克"]
["70088","硫酸铝钾(明矾)","工业","克"]
["70091","无水硫酸铜","试剂","克"]
["71001","碳酸钾","试剂","克"]
["71002","碳酸钠","工业","克"]
["71003","碳酸氢钠","工业","克"]
["71004","大理石","","克"]
["71005","碳酸氢铵","工业","克"]
["71006","碱式碳酸铜","试剂","克"]
["71020","硝酸银","试剂","克"]
["71030","乙酸铅","试剂","克"]
["71041","氢氧化钡","试剂","克"]
["71042","氨水","试剂","毫"]
["71043","氧化钙(生石灰)","","克"]
["71044","氢氧化钙(熟石灰)","","克"]
["71045","碱石灰","","克"]
["72001","无水乙酸钠","试剂","克"]
["72002","柠檬酸钠","试剂","克"]
["72021","葡萄糖","","克"]
["72022","蔗糖","","克"]
["72025","酒精","95%","千克"]
["72027","煤油","","毫升"]
["72051","石蕊","指示剂","克"]
["72052","酚酞","指示剂","克"]
["72054","品红","染料","克"]
["72061","pH广范围试纸","1～14","本"]
["72062","蓝石蕊试纸","","本"]
["72063","红石蕊试纸","","本"]
["72091","定性滤纸","","盒"]
["74001","红(赤)磷","","克"]
["74011","硫粉","工业","克"]
["74012","镁条","","克"]
["74013","铝粉","工业","克"]
["74060","黄(白)磷","","克"]
["75001","过氧化氢","试剂，30%","毫"]
["75002","氯酸钾","工业","克"]
["75003","高锰酸钾","试剂","克"]
["75004","硝酸铵","试剂","克"]
["75005","硝酸钾","试剂","克"]
["75006","硝酸钠","试剂","克"]
["75013","硝酸汞","试剂","克"]
["75017","硝酸钡","试剂","克"]
["77001","硝酸","试剂","毫升"]
["77003","硫酸","试剂","毫升"]
["77004","硫酸","工业","毫升"]
["77011","盐酸","试剂","毫升"]
["77012","盐酸","工业","毫升"]
["77021","甲酸","试剂","毫升"]
["77026","乙酸","试剂","毫升"]
["77031","氢氧化钾","试剂","克"]
["77032","氢氧化钠","试剂","克"]
["77033","氢氧化钠","工业","克"]
[80201,"初中化学实验材料","黄铜片、火柴、蜡烛、剪刀、焊锡、炭棒、导线、电灯泡、木板、电池、电珠、砂纸等","份"]
["81034","投影片绘制工具","教学用","套"]
["82001","工作服","防酸碱","件"]
["82002","护目镜","用于实验教师防强光、眩光、紫外线、激光，或是机械性伤害(机加工)。","个"]
["82003","护目镜","侧面完全遮挡","个"]
["82004","防护面罩","教学标准","个"]
["82005","防毒口罩","教学标准","个"]
["82006","手套","线","双"]
["82007","耐酸手套","耐酸","双"]
["82008","乳胶手套","乳胶","付"]
["82010","简易急救箱","简易急救箱","件"]
["82011","实验防护屏","教学标准","件"]
["82012","危险化学、易燃易爆药品储存柜","≥890mm×590mm×460mm,采用聚丙烯（PP）材料，耐强腐蚀；聚丙烯（PP）板材厚度10mm；柜子内有防溢漏层板,具有抗强撞击、耐强酸碱、耐强腐蚀、耐强刻刮、易清洁、抗紫外线、防静电等特点,锁具采用专用不锈钢锁双头锁（必须2把钥匙才能打开一把锁）。","个"]
["82014","急救包","简易","个"]
[]
[]
[]
[]
[]
["合  计"]
["填表说明：1、为汇总统计方便，本表项目顺序和格式不能变动；2、需要的仪器设备本表没有的可自行在表后填报。"]

{"sheet":"初中生物","index":3,"n_rows":155,"n_cols":5,"rows_kept":155,"merged":[[0,0,0,4],[153,0,153,2],[154,0,154,4]],"flags":["formulas_cached_only"]}
["3、初中生物常规教学仪器欠缺调查表"]
["编号","名称","规格 型号 功能","单位","欠缺数量"]
["02001","钢制黑板","900mm×600mm，双面","块"]
["02002","打孔器","四件","套"]
["02003","打孔夹板","教学用","个"]
["02004","打孔器刮刀","教学用","个"]
["02020","仪器车","不锈钢","辆"]
["02040","生物显微镜","XSP-03-1000×","台"]
["02041","生物显微镜","XSP-01-500×","台"]
["02043","生物显微演示装置","彩色，分辨率450TV线以上，放大倍数40×～1500×","台"]
["02044","双目立体显微镜","XT-3B 20-40× 斜筒 照射光、透射光","台"]
["02051","放大镜","手持式,有效通光孔径不小于30mm， 5×   ","个"]
["02071","离心沉淀器","手摇式","台"]
["02077","电加热器","密封式","个"]
["02083","列管式烘干器","教学用","台"]
["02084","烘干箱","教学用","台"]
["02087","恒温培养箱","室温～60℃，±1℃","台"]
["02101","听诊器","医用","个"]
["02102","注射器","10mL","个"]
["02116","透明水槽(圆形或方形)","φ270mm×140mm，塑料或玻璃制品                        ","个"]
["02120","保温桶","1～2L","个"]
["02123","实验用品提蓝","教育标准","个"]
["03002","方座支架","镀铬","套"]
["03005","万能夹","教学用","个"]
["03008","试管架","教学用","个"]
["03012","多用滴管架","教学用","个"]
["10015","测微尺","显微镜用","个"]
["11004","托盘天平","200g，0.2g","台"]
["11005","托盘天平","500g，0.5g","台"]
["13001","温度计","红液，0～100℃","支"]
["13003","温度计","水银，0～200℃","支"]
["13010","体温计","水银，35～42℃","支"]
["16015","血压计","汞柱式","个"]
["16016","肺活量计","金属","台"]
[27001,"解剖器","不锈钢材料，7件(大、小剪刀，大、小镊子，解剖刀，解剖针，弯头镊)","套"]
["27002","解剖器","不锈钢材料，4件(大剪刀，解剖刀，解剖针，弯头镊)","套"]
["27003","解剖盘","腊盘，140mm×250mm","个"]
["27004","骨剪","130mm，不锈钢","把"]
["27005","接种箱","带紫外灯","台"]
["27006","接种环","教学标准","把"]
["27009","徒手切片器","教学标准","台"]
["33001","植物细胞模型","教学标准","件"]
["33002","根纵剖模型","教学标准","件"]
["33003","导管、筛管模型","教学标准","件"]
["33004","单子叶植物茎模型","教学标准","件"]
["33005","双子叶植物茎模型","教学标准","件"]
["33006","叶构造模型","教学标准","件"]
["33007","桃花模型","教学标准","件"]
["33101","蝗虫解剖模型","教学标准","件"]
["33102","蛙胚胎发育模型","教学标准","件"]
["33103","草履虫模型","教学标准","件"]
["33104","蚯蚓解剖模型","教学标准","件"]
["33201","头、颈、躯干模型","850mm","件"]
["33204","人体骨骼模型","850mm","件"]
["33205","眼球解剖模型","6倍自然大","件"]
["33207","心脏解剖模型","三倍自然大","件"]
["33208","心脏解剖模型","自然大","件"]
["33209","喉解剖模型","教育标准","件"]
["33210","肺泡模型","教育标准","件"]
["33211","脑解剖模型","自然大","件"]
["33212","耳解剖模型","6倍自然大","件"]
["33213","男性泌尿生殖系统模型","自然大","件"]
["33214","女性泌尿生殖系统模型","自然大","件"]
["33219","人体肌肉模型","850mm全身，示浅层肌及部分深层肌","件"]
["33220","肘关节活动模型","附肩胛骨","件"]
["33221","牙列及磨牙解剖模型","教育标准","件"]
["33222","胃解剖模型","自然大","件"]
["33224","人体呼吸运动模型","电动式","件"]
["33225","膈肌运动模拟器","教育标准","件"]
["33301","始祖鸟化石及复原模型","教育标准","件"]
["33302","动植物细胞(对比)模型","教育标准","件"]
["43004","鸽解剖浸制标本","教育标准","瓶"]
["43005","兔解剖浸制标本","教育标准","瓶"]
["43006","蛙发育顺序标本","教育标准","瓶"]
["43008","蛔虫标本","雌、雄各一条","瓶"]
["43017","寄生绦虫囊尾蚴猪肉浸制标本","教育标准","瓶"]
["43018","园蜘蛛标本","蛛形类","盒"]
["43019","蜈蚣标本","多足类","盒"]
["43020","海参标本","棘皮动物","瓶"]
["43101","蝗虫生活史标本","教育标准","盒"]
["43102","蜜蜂生活史标本","教育标准","盒"]
["43103","竹节虫拟态标本","教育标准","盒"]
["43104","家蚕生活史标本","教育标准","盒"]
["43105","菜粉蝶生活史标本","教育标准","盒"]
["43106","兔骨骼标本","教育标准","盒"]
["43107","鱼骨骼标本","教育标准","盒"]
["43108","蛙骨骼标本","教育标准","盒"]
["43109","鸽骨骼标本","教育标准","盒"]
["43110","验证基因分离规律玉米标本","玉米穗","套"]
["43113","褐藻类植物原色覆膜标本","海带等四种","套"]
["43114","红藻类植物原色覆膜标本","紫菜等四种","套"]
["43117","蝴蝶标本","教育标准","盒"]
["43118","节肢动物标本","常见六种以上","盒"]
["43119","昆虫标本","常见六种以上","盒"]
["43120","蛾标本","教育标准","盒"]
["43121","大豆发育成长标本","教育标准","盒"]
["43122","水稻发育成长标本","教育标准","盒"]
["43123","小麦发育成长标本","教育标准","盒"]
["43124","玉米发育成长标本","教育标准","盒"]
[null,"初中一类生物玻片","77种,1595片","套"]
[null,"初中生物教学挂图","对开,90幅","套"]
[null,"初中动、植物教学挂图","对开,90幅","套"]
["53010","青春期教育挂图","对开,20幅","套"]
["53011","中学生物显微图谱","教育标准","本"]
[null,"初中生理玻璃仪器","23种,685件（见60001-64086）"]
[60001,"量筒","10mL","个"]
[60003,"量筒","100mL","个"]
[61001,"试管","φ12mm×70mm","支"]
[61002,"试管","φ15mm×150mm","支"]
[61021,"烧杯","50mL","个"]
[61023,"烧杯","250mL","个"]
[61042,"锥形瓶","250mL","个"]
[62001,"酒精灯","150mL","个"]
[62006,"干燥器","160mm","个"]
[62031,"漏斗","60mm","个"]
[62073,"滴管","教学用","支"]
[62093,"玻璃钟罩","φ150mm×280mm","个"]
[63012,"广口瓶","125mL","个"]
[63041,"滴瓶","30mL","个"]
[63043,"滴瓶","茶，30mL","个"]
[63044,"滴瓶","茶，60mL","个"]
[64032,"石棉网","125mm×125mm","个"]
[64042,"药匙","教学用","个"]
[64053,"玻璃棒","φ3～φ4mm","千克"]
[64071,"试管刷","教学用","个"]
[64072,"烧瓶刷","教学用","个"]
[64085,"培养皿","100mm","个"]
[64086,"研钵","瓷，60mm","个"]
["80302","载玻片","教育标准","盒"]
["80303","盖玻片","教育标准","包"]
["80304","标记笔","普通","支"]
["80305","生理盐水","医用","瓶"]
["81053","切纸刀","普通","台"]
["81111","昆虫网(捕虫网)","教学用","把"]
["81112","枝剪","教学用","把"]
["81113","水网","教学用","把"]
["81115","粗筛","教学用","个"]
["81116","细筛","教学用","个"]
["81117","橡皮锤","膝跳反射用","把"]
["81118","嫁接刀","教学用","把"]
["81119","小铁铲","教学用","把"]
["81120","手电筒","教学用","把"]
["82001","工作服","教学用","件"]
["82006","手套","线","双"]
["82007","耐酸手套","耐酸","双"]
["82008","乳胶手套","乳胶","付"]
["82010","简易急救箱","简易急救箱","件"]
["82014","急救包","简易","个"]
[]
[]
[]
[]
[]
["合  计"]
["填表说明：1、为汇总统计方便，本表项目顺序和格式不能变动；2、需要的仪器设备本表没有的可自行在表后填报。"]

{"sheet":"初中数学","index":4,"n_rows":27,"n_cols":5,"rows_kept":27,"merged":[[0,0,0,4],[25,0,25,2],[26,0,26,4]],"flags":["formulas_cached_only"]}
["4、初中学数学常规教学仪器欠缺调查表"]
["编号","名称","规格 型号 功能","单位","欠缺数量"]
["20001","三角板","教师用，60°、45°各1","付"]
["20002","圆规","教师演示作图用","个"]
["20003","丁字尺","演示用，不小于800mm","个"]
["20004","量角器","教师演示作图用","个"]
["20005","直角坐标黑板","教学用","套"]
["20006","探索勾股定理的材料","教学用","套"]
["20007","多边形拼接条","教学用","套"]
["20008","探索圆的有关位置关系材料","教学用","套"]
["20009","探索几何形体展开操作材料","教学用","套"]
["20010","探索几何形体截面操作材料","教学用","套"]
["20012","转盘","可更换盘面内容","套"]
["20013","投针实验器","教学用","套"]
["20014","塑料球","两种颜色，外径不小于15mm，配不透明袋","套"]
["30001","几何形体模型","长方体、正方体、四棱柱、四棱锥、圆柱体、圆锥体、球","套"]
["30002","组合几何体模型","教学用","套"]
["50001","中学数学数与代数教学挂图","对开,13幅","套"]
["50002","中学数学空间与图形教学挂图","对开,26幅","套"]
["50003","中学数学统计与概率教学挂图","对开,6幅","套"]
["50004","中学数学资料挂图","对开,25幅","套"]
["Z10601","仪器柜","1200*500*2000mm，木框架","个"]
[]
[]
[]
["合  计"]
["填表说明：1、为汇总统计方便，本表项目顺序和格式不能变动；2、需要的仪器设备本表没有的可自行在表后填报。"]

{"sheet":"初中地理","index":5,"n_rows":46,"n_cols":5,"rows_kept":46,"merged":[[0,0,0,4],[44,0,44,4],[45,0,45,4]],"flags":["formulas_cached_only"]}
["5、初中地理常规教学仪器欠缺调查表"]
["编号","名称","规格 型号 功能","单位","欠缺数量"]
[10005,"钢卷尺","2000mm","盒"]
[10006,"软尺","1500mm","把"]
[10009,"布卷尺","30m","盒"]
[12016,"世界钟","普及型","个"]
[13003,"温度计","水银，0～200℃","支"]
[13020,"寒暑表","教学标准","只"]
[13023,"干湿温度计"," -36～+46℃","付"]
[16005,"罗盘","教学标准","只"]
[16008,"空盒气压计","多膜盒","台"]
[28001,"地球运行仪","教学标准","件"]
[28007,"三球仪","教学标准","件"]
[28031,"地球科学探究活动器材套装","教学标准","套"]
[34001,"平面政区地球仪","1：40 000 000","个"]
[34002,"平面地形地球仪","1：40 000 000","个"]
[34003,"平面地形地球仪","1：90 000 000","个"]
[34004,"立体地形地球仪","1：40 000 000","个"]
[34005,"平面两用地球仪","地形/政区  1∶40 000 000","个"]
[34006,"充气式填充地球仪","塑胶，210mm  1∶60 000 000","个"]
[34009,"经纬度模型","320mm","件"]
[34014,"学习星座卡","四季星空","个"]
[34015,"等高线地形图判读模型","教学标准","件"]
[34016,"中国地形模型","吸塑填充   1∶8 000 000","件"]
[34017,"中国政区拼接及组合模型","1∶6 000 000","件"]
[34018,"中国政区拼接模型","1∶20 000 000","件"]
[44001,"岩石矿物标本","普通","套"]
[44002,"土壤标本","红壤、砖红壤、黑钙土、紫色土、水稻土等","套"]
[54001,"地球和地图教学挂图","对开,12幅","套"]
[54002,"中国地理教学挂图","对开,30幅","套"]
[54003,"世界地理教学挂图","对开,33幅","套"]
[54004,"中国地理教学地图","对开,5幅","套"]
[54005,"世界地理教学地图","对开,6幅","套"]
[54006,"中学地理填充地图","彩色印刷，全开，PVC片材或复合纸或铜版纸覆膜  20幅","套"]
[54007,"中学环境与可持续发展教育挂图","对开,45幅","套"]
[58001,"地球科学教学挂图","对开,7幅","套"]
[58002,"中学环境教育挂图","对开,30幅","套"]
[81120,"手电筒","教学用","把"]
[82014,"急救包","简易","个"]
[]
[]
[]
[]
[]
["合  计"]
["填表说明：1、为汇总统计方便，本表项目顺序和格式不能变动；2、需要的仪器设备本表没有的可自行在表后填报。"]

{"sheet":"高中物理","index":6,"n_rows":232,"n_cols":6,"rows_kept":232,"merged":[[0,0,0,5],[1,0,3,0],[1,1,3,1],[1,2,3,2],[1,3,3,3],[1,4,3,4],[1,5,3,5],[230,0,230,2],[231,0,231,5]],"flags":["formulas_cached_only"]}
[" 6、高中物理常规教学仪器欠缺调查表"]
["编号","名   称","规格 功能","单位","欠缺数量","备注"]
[]
[]
["02","一般"]
["02001","钢制黑板","900mm×600mm，双面","块"]
["02011","直联泵","2XZ-1型，单相，有防回油功能","台"]
["02016","抽气盘","直径不小于180mm，附钟罩","套"]
["02020","仪器车","600mm×400mm×800mm","辆"]
["02023","充磁器",null,"台"]
["02102","注射器","100mL","个"]
["02115","透明盛液筒","φ100mm×300mm","个"]
["03","支架"]
["03001","物理支架",null,"套"]
["03002","方座支架",null,"套"]
["03003","多功能实验支架",null,"套"]
["03004","升降台","升降范围不小于150mm，载荷不小于10kg","台"]
["04","电源"]
["04003","高中学生电源","交流：2V～16V/3A，每2V一档      直流稳压：2V～16V/2A，每2V一档","台"]
["04006","高中教学电源","交流：2V～24V，每2V一档，2V～6V/12A，8V～12V/6A，14V～24V/3A；                                                  直流稳压：1V～25V分档连续可调，2V～6V/6A，8V～12V/4A，14V～24V/2A；                                                  40A、8s自动关断","台"]
["04008","调压变压器","2kVA，TDGC2系列","台"]
["04011","感应圈","电子开关式","台"]
["04013","电子起电机","输入DC6V，输出电压范围：-17.5 kV～+17.5 kV，短路电流不大于500µA  ","台",null," "]
["1","测量"]
["10","长度"]
["10002","木直尺","1000mm","只"]
["10004","钢直尺","200mm","只"]
["10004","钢直尺","600mm","只"]
["10010","游标卡尺","150mm，0.02mm","把"]
["10011","外径千分尺","0mm～25mm，0.01mm","只"]
["11","质量"]
["11003","托盘天平","200g，0.2g","台"]
["11003","托盘天平","500g，0.5g","台"]
["11010","电子天平","1000g，0.1g","台"]
["11017","指针式体重计","0g～160kg，500g","台"]
["11021","金属钩码","50g×4，200g×2","套"]
["11022","金属槽码","2g×3，5g×2，10g×2，20g×2，50g×2，100g×2，200g×2，5g×1金属槽码盘和10g×1金属槽码盘","套",null," "]
["12","时间"]
["12003","电子停表","0.01s","块",null," "]
["12005","电火花计时器","单频率：0.02s，火花距离不小于10mm，平均电流不大于0.5mA","个"]
["12007","数字计时器","四位及以上，数据存贮，显示：10个挡光间隔时间、10周振动、n次振动时间总和、加速度计时三个时间、自由落体时间不少于二个、二路光电门分别计二个挡光时间(对碰、追碰)，有光电门接口和电磁铁接口，统一接口","台"]
["12008","频闪光源","25Hz，50Hz，100Hz","台"]
["13","温度"]
["13001","温度计","红液，0℃～100℃","支"]
["13001","温度计","水银，0℃～200℃","支"]
[14,"力"]
["14001","条形盒测力计","5N","个"]
["14001","条形盒测力计","2.5N","个"]
["14010","圆盘测力计","5N","个"]
["15","电"]
["15003","高中数字演示电表","直流/交流电压、电流，检流；4-1/2位数码管，不小于5cm","只"]
["15008","直流电流表","2.5级，0.6A，3A","只",null," "]
["15009","直流电压表","2.5级，3V，15V","只",null," "]
["15010","灵敏电流计","±300μA","只"]
["15011","多用电表","指针式，不低于2.5级","只",null," "]
["15011","多用电表","数字式，4-1/2位，电压﹑电流﹑电阻﹑温度测试﹑频率测试﹑电容﹑二极管测试","只",null," "]
["15016","演示电流电压表","2.5级，检流","台"]
["15017","演示微电流电阻表","微量直流检流，直流电压、电阻测量","台"]
["15020","教学示波器","DC 5MHz，扫描范围：10Hz～100kHz","台"]
["15032","微电流放大器","多路输入档。一路为毫伏级，低阻抗输入，放大倍数约一千倍。两路用于传感器，分别为电流型放大输出和电压型放大输出","台"]
["16","其它",{"$nulls":3}," "]
["16004","湿度计",null,"个"]
["16009","空盒气压表","800hPa～1060hPa，1hPa；误差≤±2.0hPa","台",null," "]
["16013","露点测定器",null,"个"]
["16030","量角器(圆等分器)","半圆直径不小于190mm","个",null," "]
["2","专用仪器"]
["21","力学"]
["21004","惯性演示器",null,"套"]
["21005","摩擦计",null,"套"]
["21006","螺旋弹簧组","0.5N，1N，2N","组"]
["21025","微小形变演示器","利用光杠杆原理","套"]
["21026","力的合成分解演示器",null,"套"]
["21027","支杆定滑轮和桌边夹组","每套带支杆单滑轮、尼龙线、桌边夹各3件，小铁环1件，支杆高度可调","套",null," "]
["21029","高中力学演示板",null,"套"]
["21033","滚摆"," ","个"]
["21034","离心轨道","有捕球网","套"]
["21039","电动离心转台","可调速","台",null,"与离心机械模型配用"]
["21046","毛钱管(牛顿管)","带释放装置","套"]
["21047","伽利略理想斜面演示器","长度不小于1200mm，一端高度可连续升降，连接曲面光滑","套",null," "]
["21049","运动合成分解演示器","可做匀速-匀速、匀速-匀加速运动合成","套"]
["21050","演示轨道小车","利用电火花计时，车拖纸带式，打点有效距离不小于900mm","套"]
["21051","轨道小车","车拖纸带打点式，打点有效距离不小于600mm","套"]
["21055","气垫导轨","不小于1200mm","台",null,"与数字计时器和小型气源配合使用"]
["21056","小型气源","气压不小于5kPa，低噪声","台"]
["21059","牛顿第二定律演示仪",null,"套"]
["21061","反冲运动演示器","有两种以上表现形式","套"]
["21062","超重失重演示器","记忆式","个"]
["21064","动能势能演示器","半定量实验","台"]
["21065","平抛竖落仪"," ","个"]
["21066","平抛运动实验器"," ","套"]
["21070","运动频闪观测仪","频闪光源25Hz、50Hz，可实时观测运动物体图像","套",null,"与计算机等配合使用"]
["21071","二维空间—时间描迹仪","同步计时打点描迹，悬浮式平抛","套",null," "]
["21072","向心力演示器"," ","台"]
["21079","动量传递演示器(碰撞球)","5球","套",null," "]
[22,"振动和波、分子物理和热学"]
["22001","音叉","256Hz","套"]
[22001,"音叉","512Hz","套"]
["22023","单摆组","5个摆球","组"]
[23001,"玻棒(附丝绸)","或有机玻棒(附丝绸)，教师用","对"]
[23003,"胶棒(附毛皮)","或聚碳酸酯棒(附毛皮)，教师用","对"]
[23005,"箔片验电器","教师用","对"]
[23007,"指针验电器","带法拉第圆筒","对"]
[23008,"感应起电机",null,"台"]
["23009","枕形导体",null,"副"]
["23010","小灯座",null,"个",null," "]
["23011","单刀开关",null,"个",null," "]
["23012","滑动变阻器","20Ω，2A","个"]
["23012","滑动变阻器","50Ω，1.5A","个"]
["23012","滑动变阻器","200Ω，1.25A","个"]
["23019","电阻定律演示器","  ","台"]
["23024","电阻定律实验器","不少于四根导线，长度、截面积、材料不同","台"]
["23030","演示线路实验板","高中演示组","套"]
["23041","球形导体",null,"个"]
["23042","验电器连接杆",null,"个"]
["23043","移电球(验电球)",null,"个"]
["23044","验电羽",null,"对"]
["23046","尖形布电器",null,"个"]
["23048","静电实验箱","避雷针原理、静电屏蔽、静电除尘、静电植绒、静电乒乓、静电转轮等","套",null,"与电子起电机配合使用"]
["23049","金属网罩",null,"个"]
["23050","电荷间作用力演示器",null,"套"]
["23053","电场线演示器",null,"套"]
["23056","平行板电容器",null,"套"]
["23057","电场中带电粒子运动模拟演示器","模拟电场中带电粒子加速、偏转","套",null," "]
["23058","常用电容器示教板","电解电容器、云母电容器、陶瓷电容器、薄膜电容器、贴片电容器、微调电容器、可变电容器等","套"]
["23059","常用电阻器示教板","定值电阻(碳膜电阻、金属膜电阻、绕线电阻、水泥电阻等)、可变电阻(电位器等)、特殊电阻(热敏电阻、光敏电阻等)","套"]
[24,"电磁、电子"]
["24001","条形磁铁","铝铁碳，180 mm","对"]
["24002","蹄形磁铁","铝铁碳，100mm","个"]
["24004","立体磁感线演示器","永磁、电磁场","套"]
["24005","磁感线演示板",null,"套"]
["24006","电流磁场演示器",null,"套"]
["24007","菱形小磁针","16个","套",null,"原名:小磁针"]
["24008","翼形磁针",null,"对",null,"原名:磁针"]
["24009","演示原副线圈"," ","套"]
["24010","原副线圈",null,"套",null," "]
["24017","左右手定则演示器",null,"个"]
["24019","手摇交直流发电机",null,"个"]
["24021","阴极射线管","磁效应管","个",null,"与感应圈配用"]
["24021","阴极射线管","示直进管","支",null,"与感应圈配用"]
["24021","阴极射线管","机械效应管","支",null,"与感应圈配用"]
["24021","阴极射线管","静电偏转管","支",null,"与感应圈配用"]
["24032","强磁针","高磁能积磁体","个"]
["24033","通电平行直导线相互作用演示器",null,"套",null," "]
["24034","电流天平",null,"套"]
["24035","安培力演示器",null,"套"]
["24037","自感现象演示器",null,"台"]
["24039","楞次定律演示器","开口环、闭口环","套"]
["24040","电磁阻尼演示器",null,"套"]
["24041","动能发电手电筒",null,"套"]
["24042","单匝线圈电机原理演示器","使用高磁能积磁体","套"]
["24047","交流电路特性演示器","大电感、小电感，大电容、小电容，电阻","台",null," "]
["24048","可拆变压器",null,"台"]
["24049","小型变压器",null,"套",null," "]
["24051","日光灯原理演示器","电感式镇流器","套"]
["24052","洛伦兹力演示器","有洛伦兹力管","台"]
["24053","电子束演示器"," ","台"]
["24054","阴极射线演示器","热阴极","台"]
["24062","电磁波的发送和接收演示器","发射器频率225MHz～250MHz,等幅、调幅；接收器有声、光、电显示","套"]
[3,"模型"]
[31,"物理"]
["31013","离心机械模型","节速器、干燥器、分离器","套",null,"与离心转台配套"]
[6,"玻璃仪器"]
[60,"计量"]
[60001,"量筒","10mL","个"]
[60001,"量筒","50mL","个"]
[60001,"量筒","100mL","个"]
["60012","量杯","250mL","个"]
[61,"加热"]
["61001","试管","φ15mm×150mm","支"]
["61001","试管","φ32mm×200mm","支"]
["61020","烧杯","250mL","个",null," "]
["61020","烧杯","500mL","个"]
["61033","烧瓶","圆底长颈，500mL   ","个"]
["61033","烧瓶","平底长颈，250mL","个"]
[62,"一般"]
[62001,"酒精灯","150mL","个"]
["62031","漏斗","90mm","个"]
["62070","平底管","φ12mm×150mm","支"]
["62071","T形管"," ","个"]
["62096","可密封长玻璃管","内径10mm×1000mm，有胶塞，带刻度衬板","支",null," "]
["64","材料和配套用品"]
["64005","镊子",null,"支"]
[8,"其它实验材料和工具"]
[80,"实验材料"]
["80118","学生实验纸材","打点纸带、墨粉纸、坐标纸、复印纸",null,null,"根据需要按学期补充"]
["81","工具"," "]
["81001","测电笔","氖泡式","支",null," "]
["81002","一字螺丝刀","φ3mm或φ6mm","支",null," "]
["81003","十字螺丝刀","φ3mm或φ6mm","支",null," "]
["81004","尖嘴钳","150mm","个",null," "]
["81005","电工刀",null,"个",null," "]
["81006","手摇钻","木工工具","个"]
["81007","木锉","250mm","个"]
["81008","木工锯","带把手锯","个"]
["81009","木工锤","0.25kg","个"]
["81010","铇","粗、细","个"]
["81011","斧",null,"个"]
["81012","钢手锯",null,"个"]
["81013","剥线钳",null,"个"]
["81014","钢丝钳","250mm    ","个"]
["81015","手锤",null,"个"]
["81016","錾子",null,"个"]
["81017","锉刀(平板)","250mm，带柄","个"]
["81018","三角锉刀","250mm，带柄","个"]
["81019","什锦锉",null,"套"]
["81020","活扳手","150mm或250mm","个"]
["81021","手剪","钳工工具，剪铁皮、铜片","个",null," "]
["81022","直角尺","钳工工具","个",null," "]
["81024","电烙铁","60W，20W，橡胶线","支",null," "]
["81025","平口钳","80mm，台钻上用","个",null," "]
["81026","台钻","φ1mm～φ13mm","台",null," "]
["81027","手电钻","φ1mm～φ13mm","台",null," "]
["81028","钻头","φ1mm～φ13mm","套",null," "]
["81029","台虎钳","100mm","台",null," "]
["81031","砂轮机","单相或三相，300W，3000r/min，含安全护板","台",null,"磨钻头用"]
["81033","钳工工作台",null,"个",null," "]
["81035","烙铁架",null,"个"]
["81036","油石","粗细两面","个",null,"钳工工具"]
["81037","冲子",null,"个",null,"钳工工具"]
["81038","水平尺","三水泡型，水平面工作长度160mm～250mm","个",null," "]
["82","安全防护用具"]
["82001","工作服",null,"件",null," "]
["82002","护目镜","防强光，上部衰减10倍～20倍，下部透射比≥75％","个",null," "]
["82002","护目镜","防机械冲击","个",null," "]
["82006","手套","棉纱线","双",null," "]
[]
[]
[]
[]
[]
["合计"]
["填表说明：1、为汇总统计方便，本表项目顺序和格式不能变动；2、需要的仪器设备本表没有的可自行在表后填报。"]

{"sheet":"高中化学","index":7,"n_rows":369,"n_cols":6,"rows_kept":369,"merged":[[0,0,0,6],[1,0,2,0],[1,1,2,1],[1,2,2,2],[1,3,2,3],[1,4,2,4],[1,5,2,5],[1,6,2,6],[367,0,367,2],[368,0,368,5]],"flags":["formulas_cached_only"]}
[" 7、高中化学常规教学仪器欠缺调查表"]
["编号","名    称","规格  功能","单位","欠缺数量","备注"]
[]
["02","一般"]
["02001","钢制黑板","900mm×600mm，双面","块"]
["02002","打孔器","四件","套"]
["02003","打孔夹板",null,"个"]
["02004","打孔器刮刀",null,"个"]
["02005","手摇钻孔器",null,"台"]
["02020","仪器车","至少两层，上层带护栏","辆"]
["02070","电动离心机","0r/min～3000r/min，10mL×6","台",null,"可替代02071"]
["02073","磁力加热搅拌器",null,"台"]
["02075","酒精喷灯","座式，铜制","个"]
["02077","电加热器","密封式","个"]
["02084","烘干箱",null,"台",null,"可替代02083"]
["02094","水浴锅","铜制","个"]
["02100","保温漏斗","铜制","个"]
["02102","注射器","50mL，塑料","只"]
["02121","塑料洗瓶","250mL","个"]
["02122","试剂瓶托盘",null,"个"]
["02123","实验用品提篮","可固定试管、试剂瓶等仪器，底部有抽屉","个"]
["02124","塑料水槽","250mm×180mm×100mm","个"]
["02125","碘升华凝华管","密封式","个",null,"可自制"]
["02127","聚光小手电筒",null,"支"]
["03","支架"]
["03002","方座支架",null,"套",null," "]
["03005","万能夹",null,"个"]
["03006","三脚架",null,"个"]
["03007","泥三角",null,"个"]
["03008","试管架",null,"个"]
["03009","漏斗架",null,"个"]
["03010","滴定台",null,"个"]
["03011","滴定夹",null,"个"]
["03012","多用滴管架",null,"个",null,"与多用滴管配套"]
["04","电源"]
["04003","高中学生电源","交流：2V～16V/3A，每2V一档    直流稳压：2V～16V/2A，每2V一档","台"]
["04006","高中教学电源","交流：2V～24V，每2V一档，2V～6V/12A，8V～12V/6A，14V～24V/3A；                  直流稳压：1V～25V分档连续可调，2V～6V/6A，8V～12V/4A，14V～24V/2A；            40A、8s自动关断","台"]
["1","测量"]
[11,"质量"]
["11003","托盘天平","100g，0.1g","台"]
["11003","托盘天平","500g，0.5g","台"]
["11010","电子天平","100g，0.1g","台"]
["11010","电子天平","200g，0.001g","台"]
["11010","电子天平","400g，0.1g","台"]
["12","时间"]
["12003","电子停表","0.1s","只"]
[13,"温度"]
["13001","温度计","红液，0℃～100℃","支"]
["13001","温度计","水银，0℃～360℃","支"]
["13007","数字测温计","-30℃～+200℃","台"]
["15","电"]
["15011","多用电表","指针式，不低于2.5级","个"]
["15016","演示电流电压表","2.5级","台"]
["16","其它"]
["16001","密度计","密度＞1 g/cm3","支"]
["16001","密度计","密度＜1 g/cm3","支"]
["16003","酸度计(pH计)","测量范围：pH 0～14，分辨率：0.1","台"]
["2","专用仪器"]
["26","化学"]
["26003","原电池实验器",null,"个",null,"可自制"]
["26005","贮气装置",null,"台"]
["26010","溶液导电演示器",null,"台"]
["26011","微型溶液导电实验器","金属电极，笔式，所需溶液不超过3mL","套"]
["26013","中和热测定仪",null,"套"]
["26016","化学实验废液处理装置","不小于20升/次，无极变速双搅拌，附循环泵","台"]
["26019","气体实验微型装置","以微型玻璃仪器为主,能完成氧气、氢气、二氧化碳、一氧化碳、氯气、氨气、二氧化硫、硫化氢、一氧化氮、二氧化氮等十几种气体的制备和性质实验,反应容器一般不超过30mL","套"]
["26020","氢燃料电池演示器","两个质子交换膜电极，膜电极不小于33mm×33mm","套"]
["26021","氢燃料电池实验器 ","一个质子交换膜电极，膜电极不小于15mm×15mm，带电流、电压表","套"]
["26023","电解槽演示器","离子交换膜","台"]
["26025","离子交换柱","含玻璃纤维和离子交换树脂","支"]
["26027","电泳演示器",null,"台",null,"可自制"]
[26035,"放电反应实验仪","通电两分钟之内即有氮气与氧气反应的现象，消耗功率不大于30W","套"]
[26040,"光化学实验演示器","能演示甲烷与氯气的反应","台"]
["3","模型"]
["32","化学"]
["32003","分子结构模型","演示用，氢原子球直径不小于23mm，其他原子球直径不小于30mm","套"]
["32003","分子结构模型","分组用","套"]
["32027","气体摩尔体积模型",null,"个",null,"可自制"]
[4,"标本"]
["42","化学"]
["42001","金属矿物、金属及合金标本","各类不少于5种","盒"]
["42002","原油常见馏分标本","不少于8种","盒"]
["42003","合成有机高分子材料标本","不少于10种","盒"]
["42004","新型无机非金属材料标本","氧化铝陶瓷、氮化硅陶瓷、光导纤维等","盒"]
["5","挂图、软件及资料"]
["52","化学"]
["520","教学挂图(图片)"]
[52041,"元素周期表","有外围电子层排布，带轴","件"]
["6","玻璃仪器"]
["60","计量"]
[60001,"量筒","10mL","个"]
[60001,"量筒","25mL","个"]
[60001,"量筒","50mL","个"]
[60001,"量筒","100mL","个"]
[60001,"量筒","500mL","个"]
[60001,"量筒","1000mL","个"]
["60012","量杯","250mL","个"]
["60023","容量瓶","50mL","个"]
["60023","容量瓶","100mL","个"]
["60023","容量瓶","250mL","个"]
["60023","容量瓶","500mL","个"]
["60023","容量瓶","1000mL","个"]
["60041","滴定管","酸式，25mL","支"]
["60041","滴定管","碱式，25mL","支"]
[61,"加热"]
[61001,"试管","φ12mm×70mm","支"]
[61001,"试管","φ15mm×150mm","支"]
[61001,"试管","φ18mm×180mm","支"]
[61001,"试管","φ20mm×200mm","支"]
[61001,"试管","φ32mm×200mm，硬质","支"]
[61001,"试管","φ40mm×200mm","支"]
["61008","具支试管","φ18mm×180mm","支"]
["61008","具支试管","φ20mm×200mm","支"]
["61009","硬质玻璃管","φ15mm×150mm","支"]
["61009","硬质玻璃管","φ20mm×250mm","支"]
["61011","燃烧管","φ25mm×300mm","支"]
["61012","Y形试管","φ20mm","支"]
["61020","烧杯","5mL","个"]
["61020","烧杯","10mL","个"]
["61020","烧杯","25mL","个"]
["61020","烧杯","50mL","个"]
["61020","烧杯","100mL","个"]
["61020","烧杯","250mL","个"]
["61020","烧杯","500mL","个"]
["61020","烧杯","1000mL","个"]
["61033","烧瓶","圆底，长颈，250mL","个"]
["61033","烧瓶","圆底，长颈，500mL","个"]
["61033","烧瓶","平底，长颈，250mL","个"]
["61041","锥形瓶","100mL","个"]
["61041","锥形瓶","250mL","个"]
["61051","蒸馏烧瓶","250mL","个"]
[62,"一般"]
[62001,"酒精灯","150mL，单头","个"]
[62001,"酒精灯","250mL，单头","个"]
[62001,"酒精灯","250mL，双头","个"]
["62002","干燥塔","250mL","个"]
["62003","气体洗瓶","250mL","个"]
["62004","抽滤瓶","500mL","个"]
[62005,"抽气管",null,"个"]
["62006","干燥器","160mm","个"]
["62007","气体发生器","250mL","个"]
["62021","冷凝器","直形，300mm","支"]
["62021","冷凝器","球形，300mm","支"]
["62023","牛角管","弯形，φ18mm×150mm","支"]
["62031","漏斗","60mm","个"]
["62031","漏斗","90mm","个"]
["62033","安全漏斗","直形","个"]
["62033","安全漏斗","双球","个"]
["62035","分液漏斗","锥(梨)形，100mL","个"]
["62035","分液漏斗","球形，50mL","个"]
["62039","布氏漏斗","瓷，80mm","个"]
["62071","T形管","φ7mm～8mm","个"]
["62072","Y形管","φ7mm～8mm","个"]
["62071","T形管",null,"个"]
["62072","Y形管",null,"个"]
["62074","离心管","10mL","支"]
["62075","干燥管","单球，150mm","支"]
["62075","干燥管","U型，φ15mm×150mm","支"]
["62075","干燥管","U型，φ20mm×200mm","支"]
["62075","干燥管","U型，具支，φ15mm×150mm","支"]
["62077","比色管","25mL","支"]
["62079","活塞","直形","支"]
["62079","活塞","T形","支"]
["62091","圆水槽","φ200mm×100mm","个"]
["62091","圆水槽","φ270mm×140mm","个"]
["62093","玻璃钟罩","φ150mm×280mm","个"]
["62095","钴玻璃片",null,"个"]
[63,"容器"]
[63002,"集气瓶","125mL，附毛玻璃片","个"]
["63002","集气瓶","250mL，附毛玻璃片","个"]
["63002","集气瓶","500mL，附毛玻璃片","个"]
["63005","液封除毒气集气瓶","250mL","个"]
["63011","广口瓶","60mL","个"]
["63011","广口瓶","125mL","个"]
["63011","广口瓶","250mL","个"]
["63011","广口瓶","500mL","个"]
["63011","广口瓶","棕色，60mL","个"]
["63011","广口瓶","棕色，125mL","个"]
["63011","广口瓶","棕色，250mL","个"]
["63021","细口瓶","60mL","个"]
["63021","细口瓶","125mL","个"]
["63021","细口瓶","250mL","个"]
["63021","细口瓶","500mL","个"]
["63021","细口瓶","1000mL","个"]
["63021","细口瓶","3000mL","个"]
["63021","细口瓶","棕色，60mL","个"]
["63021","细口瓶","棕色，125mL","个"]
["63021","细口瓶","棕色，250mL","个"]
["63021","细口瓶","棕色，500mL","个"]
["63021","细口瓶","棕色，1000mL","个"]
["63021","细口瓶","棕色，3000mL","个"]
["63037","下口瓶","5000mL","个"]
["63041","滴瓶","30mL","个"]
["63041","滴瓶","60mL","个"]
["63041","滴瓶","棕色，30mL","个"]
["63041","滴瓶","棕色，60mL","个"]
["63045","称量瓶","φ25mm×40mm","个"]
["64","材料和配套用品"]
["64001","坩埚","瓷，30mL","个"]
["64002","坩埚钳","200mm","个"]
["64003","烧杯夹",null,"个"]
["64005","镊子",null,"个"]
["64006","试管夹",null,"个"]
["64007","水止皮管夹",null,"个"]
["64008","螺旋皮管夹",null,"个"]
["64032","石棉网",null,"个"]
["64035","二连球",null,"个"]
["64041","燃烧匙",null,"个"]
["64042","药匙",null,"个"]
["64051","玻璃管","φ5mm～φ6mm","千克"]
["64051","玻璃管","φ7mm～φ8mm","千克"]
["64053","玻璃棒","φ3mm～φ4mm","千克"]
["64053","玻璃棒","φ5mm～φ6mm","千克"]
["64061","软胶塞","0号～12号","千克"]
["64062","橡胶管",null,"千克"]
["64063","乳胶管",null,"米"]
["64071","试管刷",null,"个"]
["64072","烧瓶刷",null,"个"]
["64074","滴定管刷",null,"个"]
["64080","结晶皿","80mm","个"]
["64081","表面皿","60mm","个"]
["64081","表面皿","100mm","个"]
["64086","研钵","瓷，60mm","个"]
["64086","研钵","瓷，90mm","个"]
["64088","蒸发皿","瓷，60mm","个"]
["64088","蒸发皿","瓷，100mm","个"]
["64091","反应板","至少6穴","个"]
["64092","井穴板","9孔，0.7mL×9","个"]
["64092","井穴板","6孔，5mL×6，附带双导气管的井穴塞","个"]
["64094","塑料多用滴管","4mL","支"]
["64098","白金丝","φ0.5mm×50mm；具金属柄，可拆卸","支",null,"可用镍铬丝代替"]
["7","药  品"]
[70,"一般无机(一)"]
[70001,"铝(条)",null,"克"]
[70001,"铝(片)",null,"克"]
[70001,"铝(箔)",null,"克"]
[70004,"锌(粒)","工业","克"]
[70004,"锌(粒)","试剂","克"]
[70005,"铁(还原铁粉)","试剂","克"]
[70005,"铁(片) ",null,"克"]
[70005,"铁(丝)",null,"克"]
["70010","铜(紫铜片)",null,"克"]
["70010","铜(丝)",null,"克"]
["70021","碘","试剂","克"]
["70032","二氧化锰","试剂","克"]
["70033","三氧化二铁","试剂","克"]
["70034","氧化铜","工业","克"]
["70040","氯化铝","试剂","克",null,"无水氯化铝为酸性腐蚀品"]
["70041","氯化钾","试剂","克"]
["70042","氯化钠","试剂","克"]
["70042","氯化钠","工业","克"]
["70046","氯化镁","试剂","克"]
["70047","三氯化铁","试剂","克"]
["70049","氯化铵","工业","克"]
["70054","氯化亚铁","试剂","克"]
["70059","溴化钠","试剂","克"]
["70065","碘化钾","试剂","克"]
["70067","亚硫酸钠(无水)","试剂","克"]
["70068","硫酸亚铁","试剂","克"]
["70070","硫酸钾 ","试剂","克"]
[70072,"硫酸钠","试剂","克"]
["70083","硫酸铝","试剂","克"]
["70086","硫酸铜(蓝矾、胆矾)","工业","克"]
["70086","硫酸铜(无水)","试剂","克"]
["70087","硫酸铵","工业","克"]
["70088","硫酸铝钾(明矾)","工业","克"]
["70099","硫化亚铁","试剂","克"]
["71","一般无机(二)"]
["71002","碳酸钠","工业","克"]
["71003","碳酸氢钠","工业","克"]
["71004","大理石",null,"克"]
["71005","碳酸氢铵","工业","克",null,"化肥"]
["71012","硅酸钠(水玻璃)","试剂","毫升"]
["71020","硝酸银","试剂","克"]
["71023","乙酸钠","试剂","克"]
["71031","硫氰酸钾","试剂","克"]
["71041","氢氧化钡","试剂","克"]
["71042","氨水","试剂","毫升"]
["71043","氧化钙(生石灰)","试剂","克"]
["71044","氢氧化钙(熟石灰)","试剂","克"]
["71045","碱石灰","试剂","克"]
["72","一般有机、指示剂"]
[null,"一般有机"]
["72021","葡萄糖","试剂","克"]
["72022","蔗糖",null,"克"]
["72025","酒精",{"v":0.95,"d":"95%"},"千克"]
["72028","石蜡(油)",null,"毫升"]
[null,"指示剂"]
[72051,"石蕊","指示剂","克"]
[72052,"酚酞","指示剂","克"]
[72054,"品红","染料","克"]
[72061,"pH广范围试纸","1～14","本"]
[72062,"蓝石蕊试纸",null,"本"]
[72063,"红石蕊试纸",null,"本"]
["72066","淀粉碘化钾试纸",null,"本"]
[72091,"定性滤纸",null,"盒"]
["73","易燃液体"]
[null,"低闪点易燃液体"]
["73003","汽油",null,"毫升"]
["73005","丙酮","试剂","毫升"]
[null,"中闪点易燃液体"]
["73010","苯","试剂","毫升",null,"有毒"]
["73016","无水乙醇","试剂","毫升"]
["73020","乙酸乙酯","试剂","毫升"]
["73025","原油",null,"毫升"]
["74","易燃固体、自燃物品、                  遇湿易燃物品  "]
[null,"易燃固体"]
["74011","硫粉","工业","克"]
["74012","镁条",null,"克"]
["74013","铝粉","工业","克"]
[null,"遇湿易燃物品  "]
["74080","钾","试剂","克"]
["74082","钠","试剂","克"]
["74084","锌粉",null,"克"]
[75,"氧化剂"]
["75001","过氧化氢","试剂，30%","毫升"]
["75002","氯酸钾","工业","克"]
["75003","高锰酸钾","试剂","克"]
[75007,"过氧化钠","试剂","克",null,"腐蚀性"]
["76","有毒品"]
["76001","草酸","试剂","克"]
["76002","氯化钡","试剂","克"]
["76013","四氯化碳","试剂","毫升"]
["77","腐蚀品"]
[null,"酸性腐蚀品"]
["77001","硝酸","试剂","毫升",null,"氧化性"]
["77003","硫酸","试剂","毫升"]
["77003","硫酸","工业","毫升"]
["77011","盐酸","试剂","毫升"]
["77011","盐酸","工业","毫升"]
["77026","乙酸","试剂，36%","毫升"]
["77026","乙酸","试剂，100%","毫升",null,"易燃"]
["77030","溴","试剂","毫升",null,"有毒"]
[null,"碱性腐蚀品"]
["77032","氢氧化钠","试剂","克"]
["77032","氢氧化钠","工业","克"]
[null,"其他腐蚀品"]
["77052","甲醛","试剂","毫升",null,"有毒"]
["8","其它实验材料和工具"]
[80,"实验材料"]
[80202,"高中化学实验材料","小刀、棉花、木炭、火柴、蜡烛、剪刀、焊锡、炭棒、导线、电灯泡、木板、电池、电珠、砂纸等","份"]
[80203,"电极材料 ","石墨、铜、锌、镁、铁、锡等电极","套 "]
["81","工具"]
["81002","一字螺丝刀",null,"支"]
["81003","十字螺丝刀",null,"支"]
["81004","尖嘴钳","150mm","把"]
["81015","手锤",null,"把"]
["81018","三角锉刀","250mm带柄","个"]
["81032","剪刀",null,"把"]
["81051","玻璃瓶盖开启器",null,"套"]
["81052","玻璃管切割器",null,"个",null,"可用三角锉刀代替"]
["82","安全防护用具"]
["82001","工作服","防酸碱","件",null," "]
["82002","护目镜","侧面完全遮挡","个"]
["82004","防护面罩","可提供颈部和头部保护","个"]
["82005","防毒口罩","有活性炭","个"]
["82006","手套","耐酸","双"]
["82006","手套","一次性乳胶手套","双"]
["82009","洗眼器",null,"套"]
["82010","简易急救箱",null,"件"]
["82011","实验防护屏",null,"件"]
["82012","危险化学、易燃易爆药品储存柜","≥890mm×590mm×460mm,采用聚丙烯（PP）材料，耐强腐蚀；聚丙烯（PP）板材厚度10mm；柜子内有防溢漏层板,具有抗强撞击、耐强酸碱、耐强腐蚀、耐强刻刮、易清洁、抗紫外线、防静电等特点,锁具采用专用不锈钢锁双头锁（必须2把钥匙才能打开一把锁）。","个"]
[]
[]
[]
[]
[]
["合计"]
["填表说明：1、为汇总统计方便，本表项目顺序和格式不能变动；2、需要的仪器设备本表没有的可自行在表后填报。"]

{"sheet":"高中生物","index":8,"n_rows":178,"n_cols":6,"rows_kept":178,"merged":[[0,0,0,5],[1,0,2,0],[1,1,2,1],[1,2,2,2],[1,3,2,3],[1,4,2,4],[1,5,2,5],[176,0,176,2],[177,0,177,5]],"flags":["formulas_cached_only"]}
["8、高中生物教学仪器欠缺调查表"]
["编号","名   称","规格  功能","单位","欠缺数量","备注"]
[]
["02","一般"]
["02002","打孔器","四件","套"]
["02020","仪器车",null,"辆"]
["02040","生物显微镜","≥640倍","台",null," "]
["02040","生物显微镜","≥1000倍，双筒","台"]
["02044","双目立体显微镜","40倍","台"]
["02051","放大镜","手持式，有效通光孔径不小于30mm，5倍","个"]
["02070","电动离心机","0r/min～4000 r/min          10mL×8，无刷电机，带电锁","台",null,"带小转子"]
["02080","高压灭菌锅","手提式，18L","台"]
["02082","恒温水浴锅","一列两孔或四孔","台"]
["02084","烘干箱","≥80L","台"]
["02086","电冰箱","＞200L","台"]
["02087","恒温培养箱","室温+5℃～60℃，±1℃，≥80L","台"]
["02102","注射器","100mL，塑料","支"]
["02119","整理箱","矮型，储存及分发药品用","个"]
["02121","塑料洗瓶","250mL或500mL","个"]
["03","支架"]
["03002","方座支架",null,"套"]
["03006","三脚架",null,"个"]
["03008","试管架","12孔，12柱，与φ15mm×150mm试管匹配","个"]
["03008","试管架","32孔，铝合金，与φ15mm×150mm试管匹配",null,null,"恒温水浴锅里使用"]
[11,"质量"]
["11003","托盘天平","200g，0.2g","台"]
[13,"温度"]
["13001","温度计","红液，0℃～100℃","支"]
["13001","温度计","水银，0℃～200℃","支"]
["16","其它"]
["16003","酸度计(pH计)","测量范围:pH 0～14，分辨率:0.1","台"]
["16017","血球计数板",null,"片"]
[2,"专用仪器"]
[27,"生物"]
["27006","接种环","金属手柄，合金金属丝","支"]
["27011","研磨过滤器","容量20mL","个"]
["27013","普通手术剪","直尖头，140mm","把"]
["27014","眼用手术剪","直尖头，100mm","把"]
["27017","解剖镊","尖头，125mm","把"]
["27017","解剖镊","阔头，125mm","把"]
["27019","眼用镊","直唇头齿,100mm","把"]
[3,"模型"]
["33","生物"]
["33301","始祖鸟化石及复原模型"]
["33302","细胞亚显微结构模型"]
["33303","细胞膜结构模型"]
["33305","减数分裂中染色体变化模型组件"]
["33306","DNA结构模型"," "]
["33307","DNA双螺旋结构模型组件","四种碱基、脱氧核糖、磷酸彼此分离"]
[" ","玻片标本"]
["432","植物玻片标本"]
["43208","蚕豆叶下表皮装片",null,"片"]
["43209","植物细胞有丝分裂","洋葱根尖纵切","片"]
["43211","胞间连丝切片",null,"片"]
["43224","黑藻叶装片","显示细胞核及叶绿体","片"]
["433","藻类霉菌类生物玻片"]
["43305","酵母菌装片",null,"片"]
["43307","水绵装片",null,"片"]
["43312","大肠杆菌涂片",null,"片"]
["434","动物玻片标本"]
["43403","动物细胞有丝分裂(马蛔虫受精卵切片)",null,"片"]
["43405","草履虫分裂生殖装片",null,"片"]
["43414","蝗虫精巢减数分裂切片",null,"片"]
["43415","蛙血涂片",null,"片"]
["43416","表皮细胞装片","蛙或蝾螈","片"]
["435","组织与生理玻片标本"]
["43508","骨骼肌纵横切",null,"片"]
["43509","平滑肌分离装片",null,"片"]
["43510","心肌切片",null,"片"]
["43511","运动神经元装片",null,"片"]
["43525","胰腺切片(示胰岛)",null,"片"]
["436","其它玻片标本"]
["43603","正常人染色体装片",null,"片"]
["43604","DNA和RAN在细胞中的分布",null,"片"]
["43605","线粒体切片",null,"片"]
[6,"玻璃仪器"]
["60","计量"]
[60001,"量筒","10mL","个"]
[60001,"量筒","25mL"]
[60001,"量筒","50mL"]
[60001,"量筒","100mL","个"]
[60001,"量筒","500mL","个"]
[60001,"量筒","1000mL","个"]
["60023","容量瓶","100mL","个"]
["61","加热"]
["61001","试管","φ15mm×150mm"]
["61020","烧杯","50mL","个"]
["61020","烧杯","100mL","个"]
["61020","烧杯","250mL","个"]
["61020","烧杯","500mL","个"]
["61020","烧杯","1000mL","个"]
["61041","锥形瓶","500mL","个"]
["62","一般"]
[62001,"酒精灯","150mL","个"]
["62006","干燥器","160mm","个"]
[62020,"蒸馏水瓶",null,"个"]
["62031","漏斗","60mm","个"]
["62031","漏斗","90mm","个"]
["62073","滴管",null,"支"]
[63,"容器"]
[63011,"广口瓶","250mL","个"]
["63041","滴瓶","30mL","个"]
["63041","滴瓶","60mL","个"]
["63041","滴瓶","棕色，30mL","个"]
["63041","滴瓶","棕色，60mL","个"]
["64","材料和配套用品"]
["64006","试管夹",null,"把"]
["64032","石棉网"," ","个"]
["64042","药匙",null,"把"]
["64053","玻璃棒","φ5mm～6mm","千克"]
["64086","研钵","瓷,φ60mm","个"]
[7,"药品"]
["70","一般无机(一)"]
["70021","碘","试剂","克"]
["70042","氯化钠","试剂","克"]
["70047","三氯化铁","试剂","克"]
["70065","碘化钾","试剂","克"]
["70086","硫酸铜(蓝矾、胆矾)","试剂","克"]
[71002,"碳酸钠","试剂，无水","克"]
["72","一般有机、指示剂"]
[null,"一般有机"]
[72001,"无水乙酸钠","试剂","克"]
["72002","柠檬酸钠","试剂","克"]
["72014","琼脂"," ","克"]
["72021","葡萄糖","试剂","克"]
[72022,"蔗糖","试剂","克"]
["72025","酒精","医用","毫升"]
[72098,"α-淀粉酶","试剂","克"]
[null,"指示剂(染色剂)"]
["72054","品红","试剂","克"]
[72061,"pH广范围试纸","1～14","本"]
["72081","甲基绿","试剂","克"]
["72084","亚甲基蓝","试剂","克"]
[72091,"定性滤纸",null,"盒"]
["72101","胭脂红(洋红)","试剂","克"]
["72102","龙胆紫","试剂","克"]
["72103","曙红B(伊红B)","试剂","克"]
["72104","美蓝","试剂","克"]
["72105","酚红","试剂","克"]
["72106","吡罗红","试剂","克"]
["72107","苏丹Ⅲ","试剂","克"]
["72110","结晶紫","试剂","克"]
[73,"易燃液体"]
[73005,"丙酮","试剂","毫升"]
["73016","无水乙醇","试剂","毫升"]
[75,"氧化剂"]
["75001","过氧化氢","试剂","毫升"]
[77,"腐蚀品"]
["77003","硫酸","试剂","毫升"]
["77011","盐酸","试剂","毫升"]
["77026","乙酸(醋酸)","试剂，100%","毫升"]
["77032","氢氧化钠","试剂","克"]
[8,"其它实验材料和工具"]
["80","实验材料"]
["80302","载玻片",null,"盒"]
["80303","盖玻片",null,"包"]
[81,"工具"]
["81001","测电笔","氖泡式","支"]
["81002","一字螺丝刀","长150mm","支"]
["81003","十字螺丝刀","φ6mm，长150mm","支"]
["81009","木工锤","重0.25kg","把"]
["81012","钢手锯",null,"把"]
["81013","剥线钳",null,"把"]
["81014","钢丝钳","250mm","把"]
["81020","活扳手","长250mm","把"]
["82","安全防护用具"]
["82001","工作服","防酸碱","件"]
["82002","护目镜","侧面完全遮挡，耐酸碱，抗冲击","个"]
["82008","乳胶手套",null,"付"]
["82009","洗眼器",null,"套"]
["82014","急救包",null,"个"]
[]
[]
[]
[]
[]
["合计"]
["填表说明：1、为汇总统计方便，本表项目顺序和格式不能变动；2、需要的仪器设备本表没有的可自行在表后填报。"]

{"sheet":"高中数学","index":9,"n_rows":29,"n_cols":6,"rows_kept":29,"merged":[[0,0,0,5],[1,0,3,0],[1,1,3,1],[1,2,3,2],[1,3,3,3],[1,4,3,4],[1,5,3,5],[27,0,27,2],[28,0,28,5]],"flags":["formulas_cached_only"]}
[" 9、高中数学常规教学仪器欠缺调查表"]
["编号","名    称","规格 功能","单位","欠缺数量","备注"]
[]
[]
["0","通用"]
["01","计算机"]
["01013","图形计算器","具有常规计算、图象/表格、概率/统计、矩阵计算、数列/递归、方程（组）求解、简单程序编制、二次方程作图等方面的功能，并以中文菜单显示","个",null,"6～56个配备数量中，6个为供教师使用量，其余为学生使用量"]
["2","专用仪器"]
["20","数学"]
["20001","三角尺","60°、45°尺各1，60°尺的长直角边与45°尺的斜边长度相等且不小于450mm","套"]
["20002","圆规","适合在黑板上画圆，附橡胶定位脚","个"]
["20005","直角坐标黑板","900mm×600mm","块"]
["3","模型"]
["30","数学"]
["30401","几何体模型","演示柱（含正方体）、锥、台、球的简单组合或分解","套"]
["30404","平摆线形成模型","依定义画平摆线","套"]
["30405","渐开线形成模型","依定义画渐开线","套"]
["5","挂图、软件及资料"]
["503","多媒体教学软件"]
["50341","数学教学辅助软件","具有几何作图、图形变换、函数图象绘制、度量、动作控制等方面的功能，并以中文菜单显示","套",null,"教师用 "]
["50342","球面几何教学素材库",null,"套"]
["Z10601","仪器柜","1200*500*2000mm，木框架","个"]
[]
[]
[]
[]
[]
["合计"]
["填表说明：1、为汇总统计方便，本表项目顺序和格式不能变动；2、需要的仪器设备本表没有的可自行在表后填报。"]

{"sheet":"高中地理","index":10,"n_rows":79,"n_cols":6,"rows_kept":79,"merged":[[0,0,0,5],[1,0,2,0],[1,1,2,1],[1,2,2,2],[1,3,2,3],[1,4,2,4],[1,5,2,5],[77,0,77,2],[78,0,78,5]],"flags":["formulas_cached_only"]}
[" 10、高中地理常规教学仪器欠缺调查表"]
["编号","名    称","规格  功能","单位","欠缺数量","备注"]
[]
["02","一般"]
["02060","望远镜","双筒，7×35","个"]
["03","支架"]
["03020","温度表支架",null,"付",null,"开展气象观测活动的学校配备"]
["03021","百叶箱支架",null,"个",null,"同上"]
["1","测量"]
[10,"长度"]
["10005","钢卷尺","2m","盒"]
["10009","布卷尺","30m","盒"]
["12","时间"]
["12016","世界钟","普及型","个"]
[13,"温度"]
["13020","寒暑表",null,"只"]
["13021","最高温度表"," -16℃～+81℃","支"]
["13022","最低温度表"," -52℃～+41℃","支"]
["13023","干湿球温度计"," -36℃～+46℃","付"]
["13024","地面温度表"," -36℃～+81℃","支"]
["16","其它"]
["16006","地质罗盘",null,"只"]
["16007","指南针",null,"个"]
["16009","空盒气压表","800hPa～1060hPa，最小分度值1hPa，误差≤2.0hPa","台"]
["16020","毛发表","单发","个"]
["16021","蒸发器","蒸发器面积314mm2","套"]
["16022","雨量器","包括雨量筒与量杯；雨量筒包括承水器、贮水瓶和外筒；承水口内径200mm","套"]
["16024","轻风表","轻便风向风速表，三杯","台"]
["16028","简易日照计","附加温度计","件"]
["16051","天文历","查昼夜长短、太阳高度等","件"]
["16052","透明度计",null,"件"]
["16053","电导率计",null,"件"]
["16054","简易比色计",null,"件"]
["2","专用仪器"]
["28","地理"]
[28001,"地球运行仪",null,"件"]
[28005,"太阳视运动仪",null,"件"]
["28007","三球仪",null,"件"]
["28028","日晷","球面式日晷，晷面应标有时间刻度、节气刻度线以及时差校正曲线；晷针平行于地轴并指向天北极","件"]
["28036","全球定位实验教学系统",null,"套"]
["28037","手持全球定位系统接收机","野外测量、选点、定位，个人导航用，带地图卡(带全国公路网格图，城市详图)，彩屏，内置温度计、气压计，锂电池供电，防水、防尘、防震"]
["28039","基于地理信息系统(GIS)的地理教学辅助系统","含软件平台及支撑课程内容的地理信息数据，可制作、编辑地图数据，实现地理信息数据的查询、统计分析和结果的直观显示； 支持时态GIS，可展现某地域或地物随时间变化的过程","套"]
["28043","基于三维GIS的地理教学辅助系统","实现教学内容资源三维可视化，并与二维信息互动查询；支持三维空间查询、量测、分析","套"]
["28044","遥感空间信息教学实验系统","演示系统平台；航空、卫星、雷达，多分辨率，多波段课程内容影像资源；遥感教程；说明手册","套"]
["28047","虚拟三维仿真教学系统","须实现在线教学与数据及教学内容升级更新，含教师版及学生版","套"]
[3,"模型"]
[34,"地理"]
[34001,"平面政区地球仪","1∶40 000 000","个"]
["34002","平面地形地球仪","1∶40 000 000","个"]
["34002","平面地形地球仪","1∶60 000 000","个"]
[34004,"立体地形地球仪","1∶40 000 000","个"]
[34009,"经纬度模型","320mm","件"]
[34010,"天球仪","灯光两用，320mm","个"]
["34013","晨昏圈地球仪","320mm","个"]
["34016","中国地形模型","吸塑填充   1∶8 000 000","件"]
["34019","板块构造及地表形态模型",null,"件"]
["34020","褶皱构造及其地貌演变模型",null,"件"]
["34021","断裂构造及地垒地堑发育模型",null,"件"]
["34022","地球内部构造模型","能显示内、外地核，上、下地幔，软流层，地壳，显示地幔对流及板块碰撞示意","件"]
["34023","世界立体地形模型","1∶16 000 000","件",null,"地理专用教室配备"]
["34024","中国立体地形模型","1∶14 000 000","件",null,"地理专用教室配备"]
["4","标本"]
["44","地理"]
["44001","岩石矿物标本","三大类岩石(岩浆岩、变质岩、沉积岩)，常见矿物(磁铁矿、黑钨矿、蓝铜矿、方铅矿、滑石、石英、云母、正长石、方解石、斜长石、磷灰石等)","套"]
["44002","土壤标本","红壤、砖红壤、黑钙土、紫色土、水稻土等","套",null,"可自制学校所在地典型土壤剖面"]
["54018","自然灾害系列遥感影像挂图",null,"套"]
["54022","环境与生态系列遥感影像挂图",null,"套"]
["54023","地表形态及土地利用动态变化遥感影像挂图",null,"套"]
["543","多媒体教学软件                  "," "," "]
["54351","宇宙与地球",null,"套"]
["54352","自然环境与人类活动",null,"套"]
["54353","区域地理环境与可持续发展",null,"套"]
[]
[]
[]
[]
[]
["合计"]
["填表说明：1、为汇总统计方便，本表项目顺序和格式不能变动；2、需要的仪器设备本表没有的可自行在表后填报。"]